## Slide 1: Health Monitoring System with PPG & ECG Signal Using IoT
Course No :: EEE 426
Course Title :: Biomedical Signal, Instrument & Measurement Laboratory

## Slide 2: Table of Contents 01 03 02 04 05
About the Presenters
Name of all the Team Members
Motivation
Our motivation and driving intention about selecting this project
Social Impact
The project implementation process and the probable impact on society
Milestones
Description of the milestones we set up for ourselves to achieve & the timeline
Future of the Project
Probable update of our project and the possible improvement

## Slide 3: Table of Contents 09 08 07 06 10
Alert System
Process of Alerting patient via twitter or email
Heart Conditions
All the conditions for which alert system works
Algorithm
Calculation Algorithm for all the sensor parameters
Review of the System
Used Components and their specifications
Cost Breakdown
The cost of each and every component of our project making it concise and compact

## Slide 4: About the Presenters 01
1. Mahfuzul – 1706045
2. Awsaf – 1706066
3. Azfer – 1706070
4. Hridoy – 1706081
5. Tahsin – 1706095
6. Sayonto – 1706103
7. Moin - 1706105

## Slide 5: Social Impact
The health monitoring system can help people to keep track of their health condition in real time.
The iot based system can upload health data so that doctors can treat patients without even meeting them even from overseas.
02

## Slide 6: Social Impact
3. The alert system can notify users of any kind of abnormalities. This can help prevent fatal consequences.4. Old generation people who need constant monitoring can use this device to keep track of their health and notify their family of it as well.
02

## Slide 7: Motivation
Health monitoring and its related technologies is an attractive research area.
The Photoplethysmogram (PPG) and electrocardiogram (ECG) has always been a popular measurement scheme to assess and monitor blood volume changes in the micro vascular bed of tissue, measures heart rate and its variability for clinical diagnosis of cardiac illness and oxygen saturation level in blood and cardiovascular activity (CVDs).
03

## Slide 8: Motivation
The number of ECG and PPG monitoring systems in the literature is expanding exponentially. Hence, it is very hard for researchers and healthcare experts to choose, compare, and evaluate systems that serve their needs and fulfil the monitoring requirements.
This accentuates the need for a verified reference guiding the design, classification, and analysis of ECG and PPG monitoring systems, serving both researchers and professionals in the field.

## Slide 9: Motivation
Moreover, biomedical signal transmission through IoT cloud provides an additional benefit in health monitoring especially for ailing senior citizens who are remotely located.
In this project, we propose a comprehensive, PPG and ECG monitoring systems with IoT. It will provide real time PPG and ECG signal monitoring on cloud. Moreover, it will also provide information on Beats Per Minute (BPM) and Oxygen Saturation (SpO2).
Finally, we identify key challenges and emphasize the importance of smart monitoring systems that leverage new technologies, including Internet of Things (IoT), to provide efficient, cost-aware, and fully connected monitoring systems.

## Slide 10: Milestones
Milestone 1
On Device Heart Rate Calculation in beats per minute (BPM) & Oxygen Saturation (SpO2) calculation in percentage.
i) Beat Per Minute (BPM) and Oxygen Saturation (SpO2) calculation from PPG Signal
ii) Beat Per Minute (BPM) calculation form ECG signal
Milestone 2
On Device updating BPM calculation and SpO2 on remote Server such as ThingSpeak
Milestone 3
Analyzing data from ThingSpeak Server and Sending alert messages to the Users Email ID & Twitter Account of one’s choice – Building an Alert System
04

## Slide 11: Future of the Project
1. The alert system can be easily improved by introducing a mobile application to send notification directly to the phone.
2. Deep learning models can be used on the backend of this device or with the help of mobile application. Such model can be used to predict any kind of abnormalities by analyzing user data.
3. Deep learning models can also be used to detect motion and activities such as, sleep, workout, rest etc.
4. The device can be modified for better consumer level use cases.
05

## Slide 12: Review of Systems 01 02 05 04 03
PPG Sensor
Model MAX30100 Measures Heart Rate & Oxygen Saturation percentage
ECG Sensor
Model AD8232 Measures Heart Rate for any sudden anomalies of the patient
Node MCU
WiFi module ESP8266 is used to send data to ThingSpeak
LCD Display
The immediate heart rate and SpO2 is shown to the patient here
Arduino Uno
Data received from the sensor is obtained here for calculation
06

## Slide 13: Block Diagram
Alert Message sent to twitter account
Mailed to dedicated physician if anomaly detected

## Slide 14: Circuit for PPG Sensor
Firstly, PPG Vin is connected to 3.3v from Arduino and Ground Connected to Arduino GND
Secondly, The SCL port is connected to Analog input A5 of Arduino to synchronously clock data in and out of the slave device
Thirdly, SDA port is connected to pin A4 of Arduino to transmit data between the master devices and slave devices.

## Slide 15: Circuit for PPG Sensor
Firstly, ECG Vin is connected to 3.3v from Arduino and Ground Connected to Arduino GND
Secondly, The Output port is connected to Analog input A0 of Arduino to send ECG data to master device.
Thirdly, LO+ and LO- port is connected to pin 10 & 11 of Arduino to compare data obtained from electrodes.

## Slide 16
Circuit as a whole

## Slide 17
Project Setup

## Slide 18
Project Setup

## Slide 19: Algorithm for BPM and SpO2 Calculation 07

## Slide 20: How is it calculated
BPM from PPG
The Heart rate is measured by counting Number of samples in 3 beats
SpO2 from PPG
The Laser from PPG sensor measures the saturation of oxygen in patient blood to find haemoglobinated blood.
BPM from ECG
Peak of heart beat measured with precision from AD8232
Alert System
Data is then sent to ThingSpeak server, which calculates the Heart Condition and provides the Update to Twitter Account & Email ID

## Slide 21
The PPG Sensor Wavelengths here are
Lambda 1 = 660 nm
Lambda 2 = 940 nm

## Slide 22: The algorithm
The Oxygenated haemoglobin absorbs less red light and absorbs more IR light. So, the blood volume at high saturation has less impact on detected red signal than on the IR signal. That is, the AC component of Red signal is smaller than that of IR signal.
Deoxygenated haemoglobin absorbs less IR light than red light so the blood volume at low saturation has less impact on the detected IR signal than on the red signal. That is, the AC component of IR signal is smaller than that of red signal.

## Slide 23
Ratio of Ratio,
The algorithm

## Slide 24
The PPG Sensor Wavelengths here are
Lambda 1 = 660 nm
Lambda 2 = 940 nm
The algorithm

## Slide 25: Heart Conditions
The Heart Rate less than 60 BPM is known as Bradycardia
If the heart rate is greater than 100 BPM it is known as Tachycardia
If the SpO2 is less than 85% it is known as Severe Hypoxia
If SpO2 is less than 90% it is known as Moderate Hypoxia
If SpO2 is less than 95% it is known as Mild Hypoxia
08

## Slide 26: 09 Alert System
Twitter account can be of any choice of the user. The account can be updated every 5 minutes. Thus, if any anomaly occurs the Twitter account gets a tweet for patient’s relatives or physician. This doesn’t necessarily mean updating every 5 minute, but it can be changed.
The Email ID has a constraint of sending an email twice in every 30 minute. The Email ID cannot be updated less than this time limit. Thus the threshold is set between Bradycardia and Tachycardia
Twitter
Email

## Slide 27
Component Name | Price (TK) | Quantity | Reference
PPG Sensor GY-Max30100 | 297 | 1 | Link
AD8232 ECG Sensor | 790 | 1 | Link
Arduino Uno | 1050 | 1 | Link
ESP8266 Wi-Fi Module | 420 | 1 | Link
16 x 2 LCD Display | 240 | 1 | Link
LM1117 IC | 49 | 1 | Link
Wire | 100 | 1 | Link
Battery | 100 | 1 | Link
Total | 3046 | 8 | 
10 Cost Breakdown

## Slide 28: Thanks to everyone for your kind patience
Do you have any questions?